## Water
Outcome | Performance Measure | Reference Codes |  | Data points | Units | Report at
|  | Original | New
General asset information | Drinking water network information | D-A1 | D-A1 | Number of drinking water networks | -- | O
|  | D-A2 | D-A2 | Number of drinking water treatment plants | -- | O
|  | D-A3 | D-A3 | Number of reservoirs | -- | O
|  | D-A4 | D-A4 | Number of pump stations | -- | O
|  |  | D-A5 | Total length of drinking water pipe | km | N
|  | D-A6 | D-A6 | Number of drinking water abstraction points | -- | N
|  | D-A7 | D-A7 | Drinking water network source type | -- | N
Environmental and public health is protected | Drinking water network connections | D-EH1 | D-EH1.1 | Number of residential connections in the drinking water network | -- | N
|  |  | D-EH1.2 | Number of residential units in the drinking water network | -- | N
|  | D-EH2 | D-EH2.1 | Number of non-residential connections in the drinking water network | -- | N
|  |  | D-EH2.2 | Number of non-residential units in the drinking water network | -- | N
|  | D-EH3 | D-EH3 | Total population served by the drinking water network | -- | N
| Volume of water abstracted | D-EH4 | D-EH4 | Water supplied to the drinking water network | -- | N
|  | D-EH5 | D-EH5 | Water imported from other suppliers | -- | O
|  | D-EH6 | D-EH6 | Water exported to other suppliers | -- | O
|  | D-EH7 | D-EH7 | Non-residential water use | -- | O
| Resource consent compliance | D-EH8 | D-EH8 | Number of resource consents that are held | -- | N
|  | D-EH9 | D-EH9 | Type(s) of resources consent | -- | N
|  | D-EH10 | D-EH10 | Resource consent reference number(s) | -- | N
|  | D-EH11 | D-EH11 | Expiry dates for resource consent(s) | -- | N
|  | D-EH12 | D-EH12 | Have consent conditions been met for rate of take and volume of abstraction | -- | N
|  | D-EH13 | D-EH13 | Consented rate of take for each abstraction point | L/s | N
|  | D-EH14 | D-EH14 | Maximum daily/weekly consented volume of water-take | m3/day or m3/7 days | N
|  | D-EH15 | D-EH15 | Maximum annual consented volume of water-take | m3/year | N
|  | D-EH16 | D-EH16 | Failure to meet resource consent conditions | Yes/No | N
| Drinking water treatment byproducts | D-EH17 | D-EH17 | Sludge | tonnes/year | N
|  | D-EH18 | D-EH18 | Backwash water | m3/year | N
|  | D-EH19 | D-EH19 | Screenings | tonnes/year | N
|  | D-EH20 | D-EH20 | Disposal route for:
|  | D-EH20 | D-EH20.1 | Sludge | -- | N
|  | D-EH20 | D-EH20.2 | Backwash water | -- | N
|  | D-EH20 | D-EH20.3 | Screenings | -- | N
| Fish passage and screening | D-EH21 | D-EH21 | Has an assessment been made for all water-takes whether fish passage is impeded within a natural water body | -- | N
|  | D-EH22 | D-EH22 | Have operational or management processes been put in place to prevent fish ingress | -- | N
Services are reliable | Fault attendance and resolution | D-R1 | D-R1 | Median hours to attend to an urgent fault | hours | O
|  | D-R2 | D-R2 | Median hours to attend to a non-urgent fault | hours | O
|  | D-R3 | D-R3 | Median hours to resolve an urgent fault | hours | O
|  | D-R4 | D-R4 | Median hours to resolve a non-urgent fault | hours | O
| System interruptions | D-R5 | D-R5 | Number of planned interruptions | -- | O
|  | D-R6 | D-R6 | Number of third-party incidents | -- | O
|  | D-R7 | D-R7 | Number of unplanned interruptions | -- | O
|  | D-R8 | D-R8 | Number of urban service connections that experience an unplanned interruption for longer than eight hours | -- | O
| Asset condition | D-R9 | D-R9.1 | % of pipes that have received a condition grading | % | O
|  | N/A | D-R9.2 | What methodology was used to assess the condition grade? | -- | O
|  | D-R10 | D-R10 | % of pipes in poor or very poor condition | % | O
|  | D-R12 | D-R12 | Average age of water pipes | years | O
|  | D-R13 | D-R13.1 | % of above-ground assets that have received a condition grading | % | O
|  | N/A | D-R13.2 | What methodology was used to assess the condition grade? | -- | O
|  | D-R14 | D-R14 | % of above-ground assets in poor or very poor condition | % | O
| Water pressure | D-R15 | D-R15 | Average system pressure | kPa | N
|  | D-R16 | D-R16 | Are there set pressure levels of service? | Yes/No | N
|  | D-R17 | D-R17 | Reference level of pressure (if Yes to D-R16) | kPa | N
|  | D-R18 | D-R18 | Number of properties below reference level of pressure | -- | N
| Water restriction days | D-R19 | D-R19 | Number of days that water restrictions were applied | days | O
|  | D-R20 | D-R20 | Proportion of affected connections | -- | O
| Sufficient firefighting water is available | D-R21 | D-R21 | Have you adopted the FENZ Code of Practice (SNZ PAS 4509:2008)? | Yes/No | O
|  | D-R22 | D-R22 | % of fire hydrants tested in the previous five years | % | O
Resources are used efficiently | Drinking water network water losses | D-RE1 | D-RE1 | Estimated total drinking water network water loss | m3/year | N
|  | D-RE2 | D-RE2 | Water loss calculations
|  | D-RE2 | D-RE2.1 | Current annual real loss (CARL) | m3/year | N
|  | D-RE2b | D-RE2.2 | Unavoidable Annual Real Losses (UARL) | m3/year | N
|  | D-RE3 | D-RE3 | Infrastructure Leakage Index (ILI) | -- | N
| Use of water resources | D-RE4 | D-RE4 | Median residential water consumption | L/connection/day | N
|  |  | D-RE5 | Do you have a water conservation education programme in place? | Yes/No | O
|  | D-RE6 | D-RE6 | Number of residential connections with water meters | -- | O
|  | D-RE7 | D-RE7 | Number of non-residential connections with water meters | -- | O
|  | D-RE8 | D-RE8 | Number of abstraction points with water meters installed | -- | O
|  | D-RE9 | D-RE9 | Frequency that water abstraction meters are calibrated/verified | years | O
|  | D-RE10 | D-RE10 | Number of water abstraction meters connected to telemetry systems | -- | O
|  | D-RE11 | D-RE11 | Days for which a complete telemetry dataset has been recorded | days | O
| Energy efficiency | D-RE12* | D-RE12 | Electricity use | kWh/year | O
|  | D- RE13* | D-RE13 | Energy use from other fuels | GJ/year | O
|  | D- RE14* | D-RE14 | Energy generation | kWh/year | O
| Alternative water use | D-RE15 | D-RE15 | Volume of recycled water supplied to residential customers | m3/year | O
|  | D-RE16 | D-RE16 | Volume of recycled water supplied to non-residential customers | m3/year | O
|  | D-RE17 | D-RE17 | Volume of recycled water supplied to managed aquifer recharge | m3/year | O
|  | D-RE18 | D-RE18 | Volume of urban stormwater reused in network | m3/year | O
Services are resilient | Critical assets | D-RL1 | D-RL1 | Have you undertaken an assessment to identify critical assets? | Yes/No | O
| Emergency response planning and preparedness | D-RL2 | D-RL2 | Has an emergency response plan been developed? | Yes/No | O
|  | D-RL3 | D-RL3 | Has a business continuity plan been developed? | Yes/No | O
|  | D-RL4 | D-RL4 | Date the emergency response plan was last reviewed. | dd/mm/yyyy | O
|  | D-RL5 | D-RL5 | Date the business continuity plan was last reviewed. | dd/mm/yyyy | O
|  | D-RL6 | D-RL6 | Date when an emergency response exercise was last conducted. | dd/mm/yyyy | O
|  | D-RL7 | D-RL7 | Date when a business continuity plan exercise was last conducted. | dd/mm/yyyy | O
| Water security | D-RL8 | D-RL8 | Do you have a strategic plan to address future changes in water supply demand. Provide comments. | Yes/No | O
| Water restrictions | D-RL9 | D-RL9 | Number of days that outdoor water use was restricted across each network. | days | O
|  | D-RL10 | D-RL10 | Number of days that outdoor water use was banned across the network. | days | O
|  | D-RL11 | D-RL11 | Were other restrictions imposed across the network. | Yes/No | O
Services are economically sustainable | Actual Expenditure (for the reporting period) | D-ES1 | D-ES1 | Total capital expenditure relating to drinking water by:
|  | D-ES1a | D-ES1.1 | meeting additional demand | $ | O
|  | D-ES1b | D-ES1.2 | replacing existing assets, improving the level of service | $ | O
|  | D-ES2 | D-ES2 | Total operating expenditure relating to drinking water | $ | O
| Forecast expenditure (for the next reporting period) | D-ES3 | D-ES3 | Total forecast drinking water capital expenditure | $ | O
|  | D-ES4 | D-ES4 | Total forecast operational expenditure | $ | O
| Revenue | D-ES5 | D-ES5 | Total revenue received, relating to drinking water | $ | O

## Wastewater
Outcome | Performance Measure | Reference Code |  | Data points | Units | Report at
|  | Original | New
General asset information | Wastewater network information | W-A1 | W-A1 | Number of wastewater pump stations | -- | O
|  | W-A2 | W-A2 | Total length of wastewater pipes (km) | km | N
|  | N/A | W-A2.1 | Total length of gravity wastewater pipes | km | O
|  | W-A3 | W-A2.2 | Total length of pressured wastewater pipes | km | O
|  | W-A4 | W-A2.3 | Total length of vacuum wastewater pipes | km | O
|  | W-A5 | W-A3 | Total length of combined wastewater and stormwater pipes | km | O
|  | W-A6 | W-A4 | Wastewater imported for treatment from other wastewater network(s) | m3/year | O
|  | W-A7 | W-A5 | Wastewater exported for treatment by another wastewater network | m3/year | O
| Wastewater treatment | W-A8 | W-A6 | Number of wastewater treatment plants | -- | O
|  | W-A9 | W-A7 | Wastewater treatment process(es) | -- | N
|  | W-A10 | W-A8 | Treated wastewater discharge receiving environment | -- | N
|  | W-A11 | W-A9 | Volume of wastewater treated at treatment plant | m3/year | N
|  | N/A | W-A9.1 | Volume of wastewater treated at treatment plant -Average nominal flows | L/s | N
|  | N/A | W-A9.2 | Volume of wastewater treated at treatment plant - Average peak flows | L/s | N
|  | N/A | W-A9.3 | Reason for peak flow? |  | N
|  | W-A12 | W-A10 | Volume of trade waste at treatment plant | m3/year | N
|  | W-A13 | W-A11 | Volume of septage imported for treatment | m3/year | N
|  | W-A14 | W-A12 | Volume of treated wastewater applied to land | m3/year | N
Environmental and public health is protected | Wastewater network connections | W-EH1* | W-EH1 | Number of residential connections in the wastewater | -- | N
|  | N/A | W-EH1.1 | Number of residential connections in the wastewater network to gravity sewers | -- | O
|  | W-EH2 | W-EH1.2 | Number of residential connections in the wastewater network to pressure sewers | -- | O
|  | W-EH3* | W-EH1.3 | Number of residential connections in the wastewater network to vacuum sewers | -- | O
|  | N/A | W-EH2 | Number of non-residential connections in wastewater network | -- | N
|  | W-EH4* | W-EH2.1 | Number of non-residential connections in the wastewater network to gravity sewers | -- | O
|  | W-EH5 | W-EH2.2 | Number of non-residential connections in the wastewater network to pressure sewers | -- | O
|  | W-EH6* | W-EH2.3 | Number of non-residential connections in the wastewater network to vacuum sewers | -- | O
|  | W-EH7 | W-EH3 | Total population served by the wastewater network | -- | N
| Resource consents compliance | W-EH8 | W-EH4 | Number of resource consents held for wastewater network | -- | N
|  | W-EH9 | W-EH5 | Type of resource consent(s) | -- | N
|  | W-EH10 | W-EH6 | Resource consent reference number(s) | -- | N
|  | W-EH11 | W-EH7 | Resource consent expiry date(s) | -- | N
|  | W-EH12 | W-EH8 | Consent status(s) | -- | N
|  | W-EH13 | W-EH9 | Wastewater overflow regulation approach(s) under local regional plan | -- | N
| Wastewater overflows | W-EH21 | W-EH10 | Number of overflows caused by blockages | -- | O
|  | W-EH22 | W-EH11 | Number of times that wastewater overflows were caused by plant failure or equipment damage | -- | O
|  | W-EH23 | W-EH12 | Number of times that wastewater overflows were caused by capacity being exceeded in the wastewater network | -- | O
|  | W-EH24 | W-EH13 | Number of times that wastewater overflows were caused by capacity being exceeded in combined wastewater and stormwater pipes/networks | -- | O
|  | W-EH25 | W-EH14 | Number of wastewater overflows resulting from causes not identified above | -- | O
|  | W-EH26* | W-EH15 | Number of wastewater overflows on private properties attributable to service provider. | -- | O
|  | W-EH27 | W-EH16 | How are overflows reported to the network operator? | -- | O
|  | W-EH28 | W-EH17 | Are overflows recorded through SCADA? | Yes/No | O
|  | W-EH29 + W-EH30 | W-EH18 | If overflows are calculated what methodology is used? | -- | O
|  | W-EH31 | W-EH19 | Number of hours where the treatment plant processes are fully bypassed | hours | O
| Inflow and infiltration | W-EH36 | W-EH20 | Wastewater treatment plant - peak to nominal flow ratio | -- | N
|  | W-EH37 | W-EH21 | What design standards do you use for calculating network capacity of wastewater networks? | -- | N
|  | W-EH38 | W-EH22 | Levels of service for preventing wastewater overflows due to stormwater ingress | % | N
| Trade waste | W-EH39 | W-EH23 | Number of trade waste consents | -- | O
|  | W-EH40 | W-EH24 | Number of times that Trade waste consents were breached | -- | O
|  | W-EH41 | W-EH25 | Describe any actions undertaken due to trade waste consent holders breaching consent conditions | -- | O
Services are reliable | Fault attendance and resolution | W-R1 | W-R1 | Median time to attend to a fault | hours | O
|  | W-R2 | W-R2 | Median time to resolve a fault | hours | O
| Systems interruption | W-R7 | W-R7 | Number of planned maintenance activities | -- | O
|  | W-R8 | W-R8 | Number of third-party incidents | -- | O
| Asset conditions | W-R14 | W-R9.1 | % of wastewater pipes that have received a condition grading | % | O
|  | N/A | W-R9.2 | What methodology was used to assess the condition grade? | -- | O
|  | W-R15 | W-R10 | % of wastewater pipes in poor or very poor condition | % | O
|  | W-R16 | W-R11 | Average age of wastewater pipes | years | O
|  | W-R17 | W-R12 | % of the wastewater pipes that have had CCTV inspections carried out in the last five years | % | O
|  | W-R18 | W-R13.1 | % of above-ground assets that have received a condition grading | % | O
|  | N/A | W-R13.2 | What methodology was used to assess the condition grade? | -- | O
|  | W/R19 | W-R14 | % of above-ground assets in poor or very poor condition | % | O
Resources are used efficiently | Energy efficiency | W-RE1 | W-RE1 | Electricity use | kWh | O
|  | W-RE2 | W-RE2 | Energy use from other fuels | GJ | O
| Process emissions | W-RE4 | W-RE3 | Wastewater treatment wetland emissions | tCO2e/year | N
|  | W-RE5 | W-RE4 | Wastewater effluent disposal emissions | tCO2e/year | N
|  | W-RE6 | W-RE5 | Wastewater sludge treatment emissions | tCO2e/year | N
|  | W-RE7 | W-RE6 | Wastewater sludge disposal emissions | tCO2e/year | N
| Biosolids | W-RE9 | W-RE7 | Production of biosolids | m3 | N
|  | W-RE10 | W-RE8 | % of dry solids in biosolids | % | N
|  | W-RE11 | W-RE9 | % disposal of biosolids to onsite stockpile ratio |  | N
|  | W-RE12 | W-RE10 | Disposal of biosolids in year to landfill | tonnes | N
|  | W-RE13 | W-RE11 | Disposal of biosolids composting and reuse | tonnes | N
|  | W-RE14 | W-RE12 | Disposal of biosolids to other routes | tonnes | N
|  | W-RE15 | W-RE13 | Last year plant/pond was desludged. | yyyy | N
Services are resilient | Critical assets | W-RL1 | W-RL1 | Have you undertaken an assessment to identify critical wastewater assets? |  | O